Checklist for Selection of Premises

1. Electricity connection with adequate load availability will be provided by landlord at his/her cost

2. Water connection along with fittings

3. Provision/space for Strong Room construction as per RBI specification will be done by landlord at his/her cost.

4. Availability of two washrooms

5. Handrail and ramp at entrance as per accessibility norms, wherever required

6. Proper flooring which included tilling

7. Collapsible gate and rolling shutter at entrance

8. Separate ATM room construction at his/her cost.

9. Space for installation of V-SAT antenna/RF Tower (if required)

10. Parking space availability free of cost.

11. Space for generator installation at ground floor, if required

12. Compliance with Bank’s layout requirements

13. Adequate ventilation and natural light

14. Structural stability and safety compliance if old building.

15. Barrier‑free movement for differently‑abled persons

16. Availability of drainage and sewage connection

17. Fire safety compliance wherever building is large commercial complex.

18. Premises readiness within stipulated time (as per bank norms)

19. Clear ownership documents and legality verification

परिसर के चयन के लिए चेकलिस्ट

1. पर्याप्त लोड उपलब्धता के साथ बिजली कनेक्शन मकान मालिक द्वारा अपने खर्चे पर उपलब्ध कराया जाएगा।

2. फिटिंग सहित पानी का कनेक्शन

3. आरबीआई के विनिर्देशों के अनुसार स्ट्रांग रूम निर्माण के लिए स्थान/व्यवस्था मकान मालिक द्वारा अपने खर्चे पर की जाएगी।

4. दो शौचालयों की उपलब्धता

5. जहाँ भी आवश्यक हो, पहुँच मानदंडों के अनुसार प्रवेश द्वार पर रेलिंग और रैंप

6. उचित फर्श जिसमें टाइलिंग शामिल है

7. प्रवेश द्वार पर ढहने योग्य गेट और रोलिंग शटर

8. अपने खर्चे पर अलग एटीएम कक्ष का निर्माण।

9. वी-सैट एंटीना/आरएफ टावर (यदि आवश्यक हो) लगाने के लिए स्थान

10. निःशुल्क पार्किंग स्थान की उपलब्धता।

11. यदि आवश्यक हो, तो भूतल पर जनरेटर लगाने के लिए स्थान।

12. बैंक की लेआउट आवश्यकताओं का अनुपालन।

13. पर्याप्त वेंटिलेशन और प्राकृतिक प्रकाश।

14. यदि पुराना भवन है तो संरचनात्मक स्थिरता और सुरक्षा अनुपालन।

15. दिव्यांग व्यक्तियों के लिए बाधा-मुक्त आवागमन

16. जल निकासी और सीवेज कनेक्शन की उपलब्धता

17. जहाँ भी भवन बड़ा व्यावसायिक परिसर हो, वहाँ अग्नि सुरक्षा का अनुपालन।

18. निर्धारित समय के भीतर परिसर की तैयारी (बैंक मानदंडों के अनुसार)

19. स्पष्ट स्वामित्व दस्तावेज़ और वैधता सत्यापन